TABLE OF CONTENTS

1	INTRODUCTION	3

1.1	Document overview	3

1.2	Abbreviations and Glossary	3

1.2.1	Abbreviations	3

1.2.2	Glossary	3

1.3	References	3

1.3.1	Project References	3

1.3.2	Standard and regulatory References	3

1.4	Conventions	3

2	REQUIREMENTS	5

2.1	States	5

2.2	Functionalities and Performance	5

2.3	Safety, security, and privacy protection	6

2.4	User maintenance	6

2.5	Usability and human-factors engineering	6

2.5.1	Man machine interface layout	6

2.5.2	Help	7

2.6	Regulatory requirements	7

2.7	System environment	7

2.8	External interfaces	7

2.8.1	Hardware interfaces	8

2.8.2	Network interfaces	8

2.8.3	Data exchange	8

2.9	Resources	8

2.9.1	Hardware resources	8

2.9.2	Software resources	8

2.10	Internal data	8

2.11	Adaptation	8

2.12	Verification	8

2.13	Personnel and training	9

2.14	Packaging and installation	9

3	VERIFICATION METHODS	10

4	REQUIREMENTS TRACEABILITY	12

5	CRITICAL REQUIREMENTS	13

# INTRODUCTION

## Document overview

This document presents the software requirements specifications of XXX software development project.

It describes:

- Requirements of functionalities, performances, interfaces, environment …

- Tests principles and definitions of validation methods of requirements,

- The compliance of requirements to customer needs,

- The relative importance and precedence of requirements

## Abbreviations and Glossary

### Abbreviations

Add here abbreviations

### Glossary

Add here words definitions

## References

### Project References

| # | Document Identifier | Document Title |
| --- | --- | --- |
| [R1] | ID | Add your documents references. One line per document For example a statement of work, a user interface mock-up … |

### Standard and regulatory References

| # | Document Identifier | Document Title |
| --- | --- | --- |
| [STD1] |  | Add your documents references. One line per document For example: ISO 13485, ISO 14971, IEC 62304, and so on |

## Conventions

Requirements listed in this document are constructed according to the following structure:

| Requirement ID | SRS-XXX-000 |
| --- | --- |
| Title | Title of XXX-000 requirement |
| Description | Description of XXX-000 requirement |
| Version | Version of XXX-000 requirement |

Example:

| Requirement ID | SRS-GUI-010 |
| --- | --- |
| Title | Main Window Background Color |
| Description | The background color of the main window is grey RGB(192,192,192) |
| Version | V1.0 |

# REQUIREMENTS

Note : have a look at  http://en.wikipedia.org/wiki/Requirement, article in wikipedia. It’s well written and the links at the bottom are useful.

## States

FOO software works in three states:

- Starting: the software loads its components;

- In use: all the functionalities of the software are available to the users;

- Stopping: the software is being stopped.

- Maintenance: the software is in maintenance mode

- And so on …

Add a diagram with states and transitions if necessary

## Functionalities and Performance

This is the core of your SRS. It contains the purpose of your software expressed in technical requirements

You may organize this part in sub-sections like:

- Module 1

  - Function 1.1

  - Function 1.2

  - …

- Module 2

  - …

- Module 3

  - …

- (and so on)

Or sub-sections like:

- Function 1

  - Sub-Function 1.1

  - Sub-Function 1.2

  - …

- Function 2

  - …

- Function 3

  - …

- (and so on)

Choose your own structure which best fits your needs.

Requirements shall not be vague. They shall be understandable and testable.

Ask yourself “How am I going to test this?” when you write a requirement

Examples of requirement:

| Requirement ID | SRS-XXX-010 SAMPLE |
| --- | --- |
| Title | Sample requirement about a function |
| Description | FOO software shall compute the zzz parameters with the a, , c and d input parameter, with the use of the XXX algorithm. |
| Version | V1.0 |

| Requirement ID | SRS-XXX-020 SAMPLE |
| --- | --- |
| Title | Sample requirement about a function |
| Description | FOO software shall save the result of computations in boo-bar format. |
| Version | V1.0 |

## Safety, security, and privacy protection

This section is about software features like confidentiality, integrity control, reliability, and availability. You can add subsections on:

Confidentiality, security, integrity,

Virus, malware protection

Operational security

See CyberSecurity requirements of FDA

See also 2016/679 GPDR in Europe if necessary of data privacy

| Requirement ID | SRS-XXX-030 SAMPLE |
| --- | --- |
| Title | Patient data |
| Description | XXX stores patient data with a checksum to ensure their integrity. |
| Version | V1.0 |

| Requirement ID | SRS-XXX-030 SAMPLE |
| --- | --- |
| Title | Password protected functions |
| Description | The following functions are protected by password: Configuration Firmware update |
| Version | V1.0 |

| Requirement ID | SRS-XXX-030 SAMPLE |
| --- | --- |
| Title | Antivirus – antimalware |
| Description | XXX software shall run with an antivirus / antimalware present on the target PC. |
| Version | V1.0 |

## Personal Data

This section is about management of personal data to be compliant with regulations.

See HIPAA requirements

See also 2016/679 GPDR in Europe, especially articles 15 to 22

| Requirement ID | SRS-XXX-130 SAMPLE |
| --- | --- |
| Title | Right to forget |
| Description | XXX software has a function to delete all patient data. The deletion is permanent and not reversible |
| Version | V1.0 |

## User maintenance

Maintenance functions accessible by users or by administrators. Do sub-sections if there are different types of users.

| Requirement ID | SRS-XXX-040 SAMPLE |
| --- | --- |
| Title | Application logs |
| Description | XXX generates a log file containing: The state of the application and the steps performed to reach that state, The possible error logs, if any. |
| Version | V1.0 |

## Usability and human-factors engineering

The requirements here may have traceability with the results of 62366 standard implementation

### Man machine interface layout

The layout of XXX is ….

Instead of a dozen of text requirements, a mock-up of the software GUI is very appreciated

Add only requirements for which a description of layout/behaviour is necessary and/or requested by a user.

| Requirement ID | SRS-XXX-050 SAMPLE |
| --- | --- |
| Title | Menu items and other widgets |
| Description | XXX software has the following items: Menu file ... Widgets in the main window (slider, button, radiobutton, textfield). |
| Version | V1.0 |

### Help

The user guide is always very important for medical devices. It may be online, in this case add requirements here about the online help ….

| Requirement ID | SRS-XXX-060 SAMPLE |
| --- | --- |
| Title | Online user guide |
| Description | XXX contains an online user guide |
| Version | V1.0 |

## Regulatory requirements

Regulations can have an impact on software design. For example, this is the case with the future Unique Device Identification of FDA.

An about window is a good way to identify software version and provide a UDI….

| Requirement ID | SRS-XXX-070 SAMPLE |
| --- | --- |
| Title | About XXX |
| Description | XXX shall display an “About…” window. This window displays the current version of the application. |
| Version | V1.0 |

In Europe the CE Mark may be somewhere in the GUI:

| Requirement ID | SRS-XXX-075 SAMPLE |
| --- | --- |
| Title | CE Mark |
| Description | XXX shall display the CE Mark in the “About…” window. The CE Mark is displayed with the 4-digits number of the notified body |
| Version | V1.0 |

## System environment

If software is integrated in a specific system, describe briefly the system and add specific requirements for the integration of your software in this system

Warning : for PEMS/Electro-medical Devices with a big system architecture, a system architecture document is necessary to describe the system/software architecture.

## External interfaces

This section describes hardware and software interfaces of the software in the system

### Hardware interfaces

For PEMS/Electro-medical Devices, add requirements about integration of software and hardware.

### Network interfaces

Also add here communication and networks stuff, like IP, wireless, Bluetooth …

### Data exchange

If XXX software is in interface with other software, describe here the requirements on data exchanges.

## Resources

### Hardware resources

| Requirement ID | SRS-XXX-080 SAMPLE |
| --- | --- |
| Title | Hardware configuration |
| Description | XXX shall run with the expected response times on a PC with the following minimal configuration: 2 Go RAM ... |
| Version | V1.0 |

### Software resources

| Requirement ID | SRS-XXX-090 SAMPLE |
| --- | --- |
| Title | Software configuration |
| Description | XXX runs in the following software environment: (describe OS version), |
| Version | V1.0 |

## Internal data

If specific requirements for internal data, like databases, binary files, xml …

It can be necessary to specify internal data if their design mitigates a risk

## Configuration or Adaptation

If specific requirements adaptability or configuration of software

## Verification

Special functions to test the software, if necessary. For example a hidden function to activate a log file during beta tests. But not a backdoor or a security hole!!!

## Personnel and training

Requirements about the capabilities/knowledge of users, the training they shall have before using software

| Requirement ID | SRS-XXX-USR-010 SAMPLE |
| --- | --- |
| Title | E-learning |
| Description | XXX is delivered with e-learning module. |
| Version | V1.0 |

## Packaging and installation

| Requirement ID | SRS-XXX-PAK-010 SAMPLE |
| --- | --- |
| Title | Packaging |
| Description | XXX shall be delivered on zzz media. |
| Version | V1.0 |

| Requirement ID | SRS-XXX-PAK-010 SAMPLE |
| --- | --- |
| Title | Install-shield |
| Description | XXX shall be installed with the use of an install shield. |
| Version | V1.0 |

# VERIFICATION METHODS

Discard this section if you don’t want to have verification methods attached to your requirements.

The verification methods of the requirements are defined below:

- Inspection (I): control or visual verification

  - Control of the physical implementation or the installation of a component. The control verifies that the implementation or the installation of a component is compliant with the requirements of diagrams.

  - Control of the documentation describing a component. The control verifies that the documentation is compliant with the requirements.

- Analysis (A): verification based upon analytical evidences

  - Verification of a functionality, performance or technical solution of a component by analyzing the data collected by tests in real conditions, by simulation of real conditions or by a analysis report.

  - Analysis of test data or of design data is used as appropriate to verify requirements.

  - The verification is based upon analytical evidences obtained by calculations, like modeling, simulation and forecasting.

  - Analysis is used when an acceptable level of confidence cannot be established by other methods or if analysis is the most cost-effective solution.

- Demonstration (D): verification of operational characteristics, without quantitative measurement

  - Verifying a requirement by demonstration implies that the required functionality specified by a requirement is complete.

  - Demonstration is used when quantitative measurement is not required for verification of the requirements

  - Demonstration includes the control of the technical solutions specified by the non-functional requirements.

- Test (T): verification of quantitative characteristics with quantitative measurement

  - Verifying a functionality, performance or technical solution of a component by executing testing scenarios in predefined, controlled and traceable testing conditions.

  - Tests require the use of special equipment, instrumentation, simulation techniques, or the application of established principles and procedures,

  - Data produced during tests is used to evaluate quantitative results and compare them with requirements.

For each requirement of the SRS, a verification method is defined. Method is abbreviated I, A, D or T.

| Requirement ID | Requirement Title | Method |
| --- | --- | --- |
| REQ-001 | Verify that the speed is displayed in rpm | D |
| REQ-001 | Verify that the color of background is blue | I |

Note: do not mistake the two meanings of the word “test” in this document:

- The method of verification, named Test and abbreviated (T), as defined above.

- A test, or test case, is a sequence of actions to verify a requirement. Tests are defined in the software test plan.

Examples of tests methods:

Inspection:

- Verify that the color of background is blue,

- Verify that the user manual has the CE mark on its cover

- Verify that the PC has 4Gb memory

- Verify that firmware version on electronic card is 1.0.1

Demonstration

- Verify that when the user closes the window, a confirmation message appears

- Verify that the file is saved in the output directory

- Verify that the result is shown

- Verify that if a value is out of range, a warning is displayed

Analysis:

- Verify that the statistical distribution of results of xxx algorithm is a Gaussian with mean=x and stdev=y, when input data are blah blah

- Verify that the linear regression of results of xxx algorithm is a line which value is 1 on the y-axis, at zero on the x-axis,

Test:

- Verify that a file of 1Gb is processed in less than 3s

- Verify that the response time of the server is 15ms with 20 simultaneous requests

Rule of thumb for software, 80% of requirements are verified by demonstration, 15% by inspection and 5% by analysis or test methods.

# REQUIREMENTS TRACEABILITY

Add a table with traceability of software requirements of this document with user or system requirements.

Example

| SRS Req. | Req Title | Functional Req. | Req. Title |
| --- | --- | --- | --- |
| SRS-REQ-001 | Reading ECG values | FUN-REQ-00A | ECG post treatment |
| SRS-REQ-002 | Writing results | FUN-REQ-00A | ECG post treatment |

# CRITICAL REQUIREMENTS

If necessary, add a list of critical requirements, or a list of reference to requirements in previous sections.

This list may be the result of risk analysis (ISO 14971).

Examples

| Requirement ID | Requirement Title | Origin |
| --- | --- | --- |
| REQ-001 | Alarm when value out of range | Risk Analysis |
| REQ-002 | Do not open file if no patient name | Risk Analysis |
| REQ-003 | Display negative values in red color | Human factor engineering |

# Text boxes

More templates to download on the:

Templates Repository for Software Development Process (click here)

Or paste the link below in your browser address bar:

http://blog.cm-dm.com/pages/Software-Development-Process-templates

This work is licensed under the:

Creative Commons Attribution-NonCommercial-NoDerivs 3.0 France License: http://creativecommons.org/licenses/by-nc-nd/3.0/fr/

Waiver:

You can freely download and fill the templates of blog.cm-dm.com, to produce technical documentation. The documents produced by filling the templates are outside the scope of the license. However, the modification of templates to produce new templates is in the scope of the license and is not allowed by this license.

To be compliant with the license, I suggest you to keep the following sentence at least once in the templates you store, or use, or distribute:

This Template is the property of Cyrille Michaud License terms: see http://blog.cm-dm.com/post/2011/11/04/License

Who am I? See my linkedin profile:

http://fr.linkedin.com/pub/cyrille-michaud/0/75/8b5

You can remove this first page when you’ve read it and acknowledged it!

Thank-you for downloading the

Software Requirements Specifications Template!