Thank-you for downloading the

Software Requirements Specifications Template!

More templates to download on the:

Templates Repository for Software Development Process (click here)

Or paste the link below in your browser address bar:

http://blog.cm-dm.com/pages/Software-Development-Process-templates

This work is licensed under the:

Creative Commons Attribution-NonCommercial-NoDerivs 3.0 France License: http://creativecommons.org/licenses/by-nc-nd/3.0/fr/

Waiver:

You can freely download and fill the templates of blog.cm-dm.com, to produce technical documentation. The documents produced by filling the templates are outside the scope of the license. However, the modification of templates to produce new templates is in the scope of the license and is not allowed by this license.

To be compliant with the license, I suggest you to keep the following sentence at least once in the templates you store, or use, or distribute:

This Template is the property of Cyrille Michaud License terms: see http://blog.cm-dm.com/post/2011/11/04/License

Who am I? See my linkedin profile:

http://fr.linkedin.com/pub/cyrille-michaud/0/75/8b5

You can remove this first page when you’ve read it and acknowledged it!

TABLE OF CONTENTS

1	INTRODUCTION	3

1.1	Document overview	3

1.2	Abbreviations and Glossary	3

1.2.1	Abbreviations	3

1.2.2	Glossary	3

1.3	References	3

1.3.1	Project References	3

1.3.2	Standard and regulatory References	3

1.4	Conventions	3

2	REQUIREMENTS	5

2.1	States	5

2.2	Functionalities and Performance	5

2.3	Security, and privacy protection	6

2.3.1	Security monitoring	7

2.3.2	Personal Data	7

2.4	User maintenance	8

2.5	Usability and human-factors engineering	8

2.5.1	Man machine interface layout	8

2.5.2	Help	10

2.6	Regulatory requirements	10

2.7	System environment	10

2.8	External interfaces	11

2.8.1	Hardware interfaces	12

2.8.2	Network interfaces	12

2.8.3	Data exchange	13

2.9	Resources	13

2.9.1	Hardware resources	13

2.9.2	Software resources	14

2.10	Internal data	14

2.11	Configuration or Adaptation	14

2.12	Verification	14

2.13	Personnel and training	14

2.14	Packaging and installation	15

2.15	Software updates	15

2.16	Decommissioning – uninstallation	16

2.17	Secure operations guidelines	16

3	REQUIREMENTS TRACEABILITY	18

4	CYBERSECURITY CONTROLS TRACEABILITY	19

5	CRITICAL REQUIREMENTS	20

# INTRODUCTION

## Document overview

This document presents the software requirements specifications of XXX software development project.

It describes:

- Requirements of functionalities, performances, interfaces, environment …

- Tests principles and definitions of validation methods of requirements,

- The compliance of requirements to customer needs,

- The relative importance and precedence of requirements

## Abbreviations and Glossary

### Abbreviations

Add here abbreviations

### Glossary

Add here words definitions

## References

### Project References

| # | Document Identifier | Document Title |
| --- | --- | --- |
| [R1] | ID | Add your documents references. One line per document For example a statement of work, a user interface mock-up … |

### Standard and regulatory References

| # | Document Identifier | Document Title |
| --- | --- | --- |
| [STD1] |  | Add your documents references. One line per document For example: ISO 13485, ISO 14971, IEC 62304, and so on |

## Conventions

Requirements listed in this document are constructed according to the following structure:

| Requirement ID | SRS-XXX-000 |
| --- | --- |
| Title | Title of XXX-000 requirement |
| Description | Description of XXX-000 requirement |
| Version | Version of XXX-000 requirement |

Example:

| Requirement ID | SRS-GUI-010 |
| --- | --- |
| Title | Main Window Background Color |
| Description | The background color of the main window is grey RGB(192,192,192) |
| Version | V1.0 |

# REQUIREMENTS

Note : have a look at  http://en.wikipedia.org/wiki/Requirement, article in wikipedia. It’s well written and the links at the bottom are useful.

## States

Optional. This section is more relevant for embedded software. For standalone software (SaMD) it can be deleted if you think it’s not useful.

FOO software works in three states:

- Starting: the software loads its components;

- In use: all the functionalities of the software are available to the users;

- Stopping: the software is being stopped.

- Maintenance: the software is in maintenance mode

- Updating: the software is being updated

- And so on …

Add a diagram with states and transitions if necessary

## Functionalities and Performance

This is the core of your SRS. It contains the purpose of your software expressed in technical requirements

You may organize this part in sub-sections like:

- Module 1

  - Function 1.1

  - Function 1.2

  - …

- Module 2

  - …

- Module 3

  - …

- (and so on)

Or sub-sections like:

- Function 1

  - Sub-Function 1.1

  - Sub-Function 1.2

  - …

- Function 2

  - …

- Function 3

  - …

- (and so on)

Choose your own structure which best fits your needs.

Requirements shall not be vague. They shall be understandable and testable.

Ask yourself “How am I going to test this?” when you write a requirement

Examples of requirement:

| Requirement ID | SRS-XXX-010 SAMPLE |
| --- | --- |
| Title | Sample requirement about a function |
| Description | FOO software shall compute the zzz parameters with the a, , c and d input parameter, with the use of the XXX algorithm. |
| Version | V1.0 |

| Requirement ID | SRS-XXX-020 SAMPLE |
| --- | --- |
| Title | Sample requirement about a function |
| Description | FOO software shall save the result of computations in boo-bar format. |
| Version | V1.0 |

## Security, and privacy protection

This section is about software features like confidentiality, integrity control, reliability, and availability. You can add subsections on:

Confidentiality, integrity, availability

Virus, malware protection

Operational security

See CyberSecurity requirements of FDA: https://www.fda.gov/medical-devices/digital-health-center-excellence/cybersecurity

See also MDS2 document : https://www.nema.org/standards/view/manufacturer-disclosure-statement-for-medical-device-security This document contains general security requirements, to be refined to the context of your product.

For paid documentation, see IEC/TR 60601-4-5: This document also contains general security requirements, to be refined to the context of your product.

See also secure operations guidelines at the end of this document.

| Requirement ID | SRS-SEC-030 SAMPLE |
| --- | --- |
| Title | Two factors authentication |
| Description | XXX connection shall be confirmed with two factor authentication. Authorized factors are: - Text message confirmation, - Authentication app. |
| Version | V1.0 |

| Requirement ID | SRS-SEC-030 SAMPLE |
| --- | --- |
| Title | Patient data |
| Description | XXX stores patient data with a checksum to ensure their integrity. |
| Version | V1.0 |

| Requirement ID | SRS-SEC-030 SAMPLE |
| --- | --- |
| Title | Password protected functions |
| Description | The following functions are protected by password: - Configuration - Firmware update |
| Version | V1.0 |

| Requirement ID | SRS-SEC-030 SAMPLE |
| --- | --- |
| Title | Antivirus – antimalware |
| Description | XXX software shall run with an antivirus / antimalware present on the target PC. |
| Version | V1.0 |

### Security monitoring

This section is about software features allowing users or administrators the monitoring of software security.

| Requirement ID | SRS-SEC-030 SAMPLE |
| --- | --- |
| Title | Audit logs |
| Description | XXX software stores in audit logs the following information: - Failed user login attempts, - Failed 3rd party software connection attempts, - Changing user rights, - Moving file from private to public repository - … |
| Version | V1.0 |

| Requirement ID | SRS-SEC-030 SAMPLE |
| --- | --- |
| Title | Audit logs aggregation |
| Description | XXX software shall be able to send audit logs to a SIEM log aggregator |
| Version | V1.0 |

### Personal Data

This section is about management of personal data to be compliant with regulations.

See HIPAA requirements

See also 2016/679 GPDR in Europe, especially articles 15 to 22 and the following article: https://blog.cm-dm.com/post/2018/04/18/Update-of-SRS-and-SAD-templates-for-GDPR

| Requirement ID | SRS-SEC-130 SAMPLE |
| --- | --- |
| Title | Right to forget |
| Description | XXX software has a function to delete all patient data. The deletion is permanent and not reversible |
| Version | V1.0 |

## User maintenance

Maintenance functions accessible by users or by administrators. Add sub-sections if there are different types of users.

| Requirement ID | SRS-MNT-040 SAMPLE |
| --- | --- |
| Title | Application logs |
| Description | XXX generates a log file containing: - The state of the application and the steps performed to reach that state, - The possible error logs, if any. |
| Version | V1.0 |

| Requirement ID | SRS-MNT-140 SAMPLE |
| --- | --- |
| Title | Idle software when cleaning the device |
| Description | XXX can be put in idle state by the user to clean the touchscreen with swipes. Exit of idle state is automatic after TTT seconds . |
| Version | V1.0 |

## Usability and human-factors engineering

The requirements here may have traceability with the results of IEC 62366-1 standard implementation or human factors FDA guidance document.

### Man machine interface layout

The layout of XXX is ….

Instead of a dozen of text requirements, diagrams and drawings can me much more convenient:

- A mock-up of the software GUI,

- State-transition GUI diagrams made with tools like Figma.

Add only requirements for which a description of layout/behaviour is necessary and/or requested by some user feedback or a high level GUI or product specification.

If your software doesn’t contain an GUI (e.g.: only REST APIs), leave this section blank.

| Requirement ID | SRS-GUI-050 SAMPLE |
| --- | --- |
| Title | Menu items and other widgets |
| Description | XXX software has the following items: - Menu file ... - Widgets in the main window (slider, button, radiobutton, textfield). |
| Version | V1.0 |

You can also specify GUI with the following items (thanks LLM to give me this list):

- Visual Design:

  - Color scheme and aesthetics

  - Typography and font choices

  - Use of whitespace and layout

  - Visual hierarchy and emphasis

- Interactivity:

  - Hover effects and animations

  - Click/tap feedback

  - Drag-and-drop functionality

  - Gestures (for touch interfaces)

- Accessibility:

  - Color contrast for readability

  - Screen reader compatibility

  - Keyboard navigation support

  - Resizable text and scalable interface

- Consistency:

  - Uniform design patterns across the interface

  - Standardized icons and symbols

  - Consistent placement of common elements

- Feedback and Status:

  - Loading indicators

  - Progress bars

  - Tooltips and help text

  - Error messages and notifications

- Customization:

  - Theming options

  - User preferences and settings

  - Adaptability to different screen sizes and orientations

- Localization:

  - Support for multiple languages

  - Culturally appropriate icons and symbols

  - Date, time, and number format adaptations

- Performance:

  - Responsiveness and load times

  - Smooth animations and transitions

  - Efficient use of system resources

- Integration:

  - Compatibility with operating system conventions

  - Integration with other applications or services

  - Support for system-wide features (e.g., dark mode)

You can also describe GUI characteristics in a separate document outside SRS (put simply the list in a new document). That document may be referenced here and in the usability file.

### Help

The user guide is always very important for medical devices. It may be online, in this case add requirements here about the online help ….

See also e-IFU regulation: https://eur-lex.europa.eu/eli/reg_impl/2021/2226/oj

If your software doesn’t contain an GUI (e.g.: only REST APIs), it may still output some pdf document with a specific request.

| Requirement ID | SRS-HLP-060 SAMPLE |
| --- | --- |
| Title | Online user guide |
| Description | XXX contains an online user guide accessible in the Help/About window |
| Version | V1.0 |

## Regulatory requirements

Regulations can have an impact on software design. For example, this is the case with the Unique Device Identification (UDI).

An about window is a good way to identify software version and provide a UDI….

If your software doesn’t contain an GUI (e.g.: only REST APIs), it may still output a text or image with a specific request.

| Requirement ID | SRS-REG-070 SAMPLE |
| --- | --- |
| Title | About XXX |
| Description | XXX shall display an “About…” window. This window displays: - The current version of the application, - The UDI, - The manufacturer name and address with “black factory” pictogram, - … |
| Version | V1.0 |

In Europe the CE Mark may be somewhere in the GUI:

If your software doesn’t contain an GUI (e.g.: only REST APIs), it may still output an image with a specific request.

| Requirement ID | SRS-REG-075 SAMPLE |
| --- | --- |
| Title | CE Mark |
| Description | XXX shall display the CE Mark in the “About…” window. The CE Mark is displayed with the 4-digits number of the notified body |
| Version | V1.0 |

## System environment

If software is integrated in a specific system, describe briefly the system and add specific requirements for the integration of your software in this system

Warning: for PEMS/Electro-medical Devices with a HW system architecture, a system architecture document is necessary to describe the system/software architecture.

Example with a system, which is not a medical device:

| Requirement ID | SRS-ENV-080 SAMPLE |
| --- | --- |
| Title | Host System |
| Description | XXX is a module integrated in <MyBigHealthSystem>. MyBigHealthSystem exposes services used by XXX. |
| Version | V1.0 |

Note: <MyBigHealthSystem> services are described in <MyBigHealthSystem> architecture documentation ref XXX.

Example with a mobile platform:

| Requirement ID | SRS-ENV-080 SAMPLE |
| --- | --- |
| Title | Mobile platform |
| Description | XXX is mobile app running on the following platforms: - ApricotOS - RobotOS |
| Version | V1.0 |

Example with cloud-based system:

| Requirement ID | SRS-ENV-080 SAMPLE |
| --- | --- |
| Title | Host System |
| Description | XXX is a cloud-based application on THEFANCYGAFAM. THEFANCYGAFAM exposes services used by XXX: - NoSQL Database, - Web server, - … |
| Version | V1.0 |

Note: These services are described in the architecture documentation.

## External interfaces

This section describes hardware and software interfaces of the software in the system.

You can also Use the IRS-IDD document to describe interfaces requirements specifications and detailed design specifications.

| Requirement ID | SRS-INT-090 SAMPLE |
| --- | --- |
| Title | REST API |
| Description | XXX exposes REST APIs for xxxx |
| Version | V1.0 |

| Requirement ID | SRS-INT-090 SAMPLE |
| --- | --- |
| Title | DICOM node |
| Description | XXX exposes a DICOM node with the following characteristics: xxx |
| Version | V1.0 |

### Hardware interfaces

For PEMS/Electro-medical Devices, add requirements about integration of software and hardware.

This is less relevant for software running on an OS, which masks the underlying hardware. In this case, such requirements could be at product level.

| Requirement ID | SRS-INT-090 SAMPLE |
| --- | --- |
| Title | Pressure Sensor |
| Description | XXX receives data from the pressure sensor from serial port #nn |
| Version | V1.0 |

### Network interfaces

Also add here communication and networks items, like wired network, wireless, Bluetooth …

This is less relevant for software running on an OS, which masks the underlying hardware. In this case, such requirements could be at product level.

| Requirement ID | SRS-NET-090 SAMPLE |
| --- | --- |
| Title | Wireless communication |
| Description | XXX shall be able to communicate over the zigbee channel the following information: - Status, - Battery level, - … |
| Version | V1.0 |

### Data exchange

If XXX software interoperates with other software, describe here the requirements on data exchange.

| Requirement ID | SRS-DAT-100 SAMPLE |
| --- | --- |
| Title | DICOM Protocol |
| Description | XXX communicates with PACS servers with the use of the DICOM protocol, version xx |
| Version | V1.0 |

## Resources

### Hardware resources

For plain old PC:

| Requirement ID | SRS-HWR-110 SAMPLE |
| --- | --- |
| Title | Hardware configuration |
| Description | XXX shall run with the expected response times on a PC with the following minimal configuration: - 64 Go RAM - 16 CPU cores - 1024 GPU - ... |
| Version | V1.0 |

For mobile apps, it can be difficult to be specific, if you want to install your app on any device

| Requirement ID | SRS-HWR-110 SAMPLE |
| --- | --- |
| Title | Hardware configuration |
| Description | XXX shall run with the expected response times on a mobile platform with the following minimal configuration: - 16 Go RAM - Aaa x bbb minimal screen resolution - Aaa x bbb minimal camera resolution |
| Version | V1.0 |

On the cloud, virtual hardware requirements are possible

| Requirement ID | SRS-HWR-110 SAMPLE |
| --- | --- |
| Title | Cloud-based configuration |
| Description | XXX shall run with the expected response times on a virtual machine / container engine with the following minimal configuration: - 2 Go RAM - ... |
| Version | V1.0 |

### Software resources

Software configuration can be defined precisely for embedded systems, thus it cannot be changed easily. For PC applications, the versions can be less precise (eg ApertureOS 11 without more details). On the cloud, versions can change more often.

Thus, is it possible to remain vague in the SW versions at this stage of the design and freeze the actual version when the software is released.

| Requirement ID | SRS-SWR-120 SAMPLE |
| --- | --- |
| Title | Software configuration |
| Description | XXX runs in the following software environment: - (describe OS version), - (For cloud-based, describe containerization versions, if possible), - (database version). |
| Version | V1.0 |

## Internal data

If specific requirements for internal data, like databases, binary files, json, xml …

For example, it can be necessary to specify internal data if their design mitigates a risk

This section isn’t used often but is left there as a reminder.

## Configuration or Adaptation

If specific requirements adaptability or configuration of software, like configuration files, configuration parameters in database and/or admin/user GUI to configure the software.

## Verification

Special functions to test the software, if necessary. For example, a hidden function to activate a log file during beta tests. But not a backdoor or a security hole!!! This shall be stripped form release

This section isn’t used often but is left there as a reminder.

## Personnel and training

Requirements about the capabilities/knowledge of users, the training they shall have before using software.

That kind of requirement can already be present at system level document or product level document. Then, this section may be left blank, unless this is here refined.

| Requirement ID | SRS-XXX-USR-010 SAMPLE |
| --- | --- |
| Title | E-learning |
| Description | XXX is delivered with e-learning module. |
| Version | V1.0 |

## Packaging and installation

That kind of requirement can already be present at system level document or product level document. Then, this section may be left blank, unless this is here refined.

If you deliver on some hardware media:

| Requirement ID | SRS-XXX-PAK-010 SAMPLE |
| --- | --- |
| Title | Packaging |
| Description | XXX shall be delivered on zzz media. |
| Version | V1.0 |

If the installation can be automated:

| Requirement ID | SRS-XXX-PAK-010 SAMPLE |
| --- | --- |
| Title | Install-shield |
| Description | XXX shall be installed with the use of an install shield. |
| Version | V1.0 |

For mobile apps, we remain only at technical level. The way the app is deployed on the store is not part of this document.

| Requirement ID | SRS-XXX-PAK-010 SAMPLE |
| --- | --- |
| Title | APK |
| Description | XXX shall be installed with the use of an APK accepted by RobotOS based systems. |
| Version | V1.0 |

## Software updates

That kind of requirement can already be present at system level document or product level document. Then, this section may be left blank, unless this is here refined.

It is mostly useful with mobile apps where end-users install and update software.

It may not be so relevant for cloud software, or when software is managed by admins.

| Requirement ID | SRS-XXX-PAK-010 SAMPLE |
| --- | --- |
| Title | New version |
| Description | When it starts, XXX software shall be able to detect if a new software version is available. If the version is mandatory, XXX software shall install the new version and restart. If the version is optional, XXX software shall propose to the user to install it. |
| Version | V1.0 |

## Decommissioning – uninstallation

Requirements about the operations to perform to uninstall the software

That kind of requirement can already be present at system level document or product level document. Then, this section may be left blank, unless this is refined here.

| Requirement ID | SRS-EOL-010 SAMPLE |
| --- | --- |
| Title | Uninstall |
| Description | XXX is delivered with an uninstaller. The uninstaller allows the user to export personal data prior to uninstallation. |
| Version | V1.0 |

| Requirement ID | SRS-EOL-010 SAMPLE |
| --- | --- |
| Title | Erasing personal data |
| Description | XXX shall erase personal data using the DoD 5220.22-M algorithm. |
| Version | V1.0 |

## Secure operations guidelines

When secure operations cannot be handled by the manufacturer, they shall be present as guidelines in some accompanying documentation (this is risk transfer, in cyber language). The requirements below should come from security risk controls.

That kind of requirement can already be present at system level document or product level document. Then, this section may be removed and documented elsewhere at product/system level..

| Requirement ID | SRS-SOG-010 SAMPLE |
| --- | --- |
| Title | Statement about account management |
| Description | Secure operations guidelines shall contain a statement about account management by the HCP |
| Version | V1.0 |

| Requirement ID | SRS-SOG-020 SAMPLE |
| --- | --- |
| Title | Statement and warning about automatic security updates |
| Description | Secure operations guidelines shall contain: - A statement about setting the OS automatic security updates to “enabled”, - A warning reminding the reader that disabling OS automatic security updates may put the device at risk. |
| Version | V1.0 |

# REQUIREMENTS TRACEABILITY

Add a table with traceability of software requirements of this document with user or system or product requirements.

Example

| SRS Req. | Req Title | Functional Req. | Req. Title |
| --- | --- | --- | --- |
| SRS-REQ-001 | Reading ECG values | FUN-REQ-00A | ECG post treatment |
| SRS-REQ-002 | Writing results | FUN-REQ-00A | ECG post treatment |

# CYBERSECURITY CONTROLS TRACEABILITY

OPTIONAL SECTION

The FDA guidance on Cybersecurity in Medical Devices recommends to document a traceability with a predefined list of types of cybersecurity controls.

You may use this section to document traceability between your SRS and the control types.

Some controls may not be documented in the SRS (e.g. in de dev plan). You can also move or duplicate this traceability to the security risk assessment report if you have security control types covered by artifacts that are not SRS.

Types of Cybersecurity controls listed in the FDA guidance on Cybersecurity in Medical Devices are:

- A) Authentication controls,

- B) Authorization controls,

- C) Cryptography controls,

- D) Code, data, and execution integrity controls,

- E) Confidentiality controls,

- F) Event detection and logging controls,

- G) Resiliency and recovery controls,

- H) Firmware and software update controls.

Example:

| SRS ID | SRS Title | Security Controls |
| --- | --- | --- |
| SRS-AUTH-001 | User authentication by login and pasword | Authentication control |
| SRS-DAT-001 | Database encryption | Confidentiality controls |

# CRITICAL REQUIREMENTS

OPTIONAL SECTION

If necessary, add a list of critical requirements, or a list of reference to requirements in previous sections.

This list may be the result of risk analysis (ISO 14971).

Examples

| Requirement ID | Requirement Title | Origin |
| --- | --- | --- |
| REQ-001 | Alarm when value out of range | Risk Analysis |
| REQ-002 | Do not open file if no patient name | Risk Analysis |
| REQ-003 | Display blinking when negative values | Human factor engineering |