Thank-you for downloading the

Software Tests Description Template!

More templates to download on the:

Templates Repository for Software Development Process (click here)

Or paste the link below in your browser address bar:

http://blog.cm-dm.com/pages/Software-Development-Process-templates

This work is licensed under the:

Creative Commons Attribution-NonCommercial-NoDerivs 3.0 France License: http://creativecommons.org/licenses/by-nc-nd/3.0/fr/

Waiver:

You can freely download and fill the templates of blog.cm-dm.com, to produce technical documentation. The documents produced by filling the templates are outside the scope of the license. However, the modification of templates to produce new templates is in the scope of the license and is not allowed by this license.

To be compliant with the license, I suggest you to keep the following sentence at least once in the templates you store, or use, or distribute:

This Template is the property of Cyrille Michaud License terms: see http://blog.cm-dm.com/post/2011/11/04/License

Who am I? See my linkedin profile:

http://fr.linkedin.com/pub/cyrille-michaud/0/75/8b5

You can remove this first page when you’ve read it and acknowledged it!

TABLE OF CONTENTS

1	Introduction	3

1.1	Document overview	3

1.2	Abbreviations and Glossary	3

1.2.1	Abbreviations	3

1.2.2	Glossary	3

1.3	References	3

1.3.1	Project References	3

1.3.2	Standard and regulatory References	3

1.4	Conventions	3

2	Tests preparations	4

2.1	Choose sub-section name	4

2.1.1	Hardware preparation	4

2.1.2	Software preparation	4

2.1.3	Other test preparation	4

2.1.4	Safety, security and privacy precautions	4

2.1.5	Test platform configuration verification	4

3	Tests descriptions	5

3.1	Choose sub-section name	5

# Introduction

## Document overview

This document is the software test description of the XXX software development project. It contains the description of tests list in software test plan ref. xxx. These tests are executed during XXX integration and verification:

- Software Integration tests,

- Software Verification tests.

The structure of this template is simple compared to others. But don’t underestimate the effort to fill it. Tests descriptions may give you headaches!

## Abbreviations and Glossary

### Abbreviations

Add here abbreviations

### Glossary

Add here words definitions

## References

### Project References

| # | Document Identifier | Document Title |
| --- | --- | --- |
| [R1] | ID | Add your documents references. One line per document |

### Standard and regulatory References

| # | Document Identifier | Document Title |
| --- | --- | --- |
| [STD1] |  | Add your documents references. One line per document |

## Conventions

Add here conventions

# Tests preparations

This section contains tasks and recommendations before executing tests.

Describe the tests preparation tasks, for a phase, a category of tests, or even a single test (in this case, use the test identifier).

Give a name to sub-sections, which matches the scope of described tasks.

## Choose sub-section name

The sub-section name may be:

- Testing phase xxx

- or category of test xxx

- or test xxx if a single test deserves special preparation

- or some other logic to group tests

The tests impacted by the preparation shall be listed, add a list or add a reference to a list of tests made in the software test plan or a list of test in §3 test description.

### Hardware preparation

Describe platform configuration operations, like specific hardware to be used, physical network configuration.

You may add a diagram and steps to set up hardware for use.

Note: these steps are different from those in the software test plan, where the installation of the whole platform is described.

### Software preparation

Describe software set-up and configuration operations, like simulators or software test tool to be used, logical network configuration.

Think about preparing tests sample data, emptying databases or directories before beginning tests …

You may add a diagram and steps to set up software for use.

### Other test preparation

Describe here any other specific task to do before tests.

### Safety, security and privacy precautions

Add here warnings or precautions about safety, security and privacy.

Think twice about it if tests are, for example, realized in a health care centre

### Test platform configuration verification

If necessary, add a step to verify the versions of hardware / software environment:

- HW components,

- SW tools, like simulators,

- For cloud software, verifying the versions of the environment may be a good safeguard,

- Environment variables, config files….

# Tests descriptions

You may organize tests by testing phases or by groups or list them in alphabetical order.

The most effective way is to list them in chronological order of execution for each phase. Testers won’t waste time searching for tests in the document. The drawback of this method is that sequence of actions executed during in more than once shall be either duplicated (max chance of errors when modifying the test) or referenced.

Each test defined in the test plan shall be described here.

## Choose sub-section name

Section name may be:

- Testing phase xxx

- or category of test xxx

- or some other logic to group tests

Describe each test with the pattern below.

For most of tests, only a subset of fields in the table is used, mark N/A (non applicable) the unused fields. Discard them if you don’t use these fields in any of your tests.

Be articulate when writing the tests steps, they should be understood by the tester. The level of details won’t be the same for an integrator/tester (deep details) and for an end-user (broad tests scenarios).

Long template:

| Test ID | Same ID as in test plan |  |
| --- | --- | --- |
| Test description | Same as in test plan |  |
| Verified Requirement | SRS-REQ-001 | Verification method: I,A,D,T |
| Initial conditions | The state of software before test | You may reference a procedure or it may be the result of previous test |
| Tests inputs | Input data from any test tool, input files name and location | You may reference a procedure to use the test tool |
| Data collection actions | Recording and post processing of output data | You may reference a procedure to record data with a test tool |
| Tests outputs | Output data files names and location, logs … | Give unique name out output data files. |
| Assumptions and constraints | If any, may be limited access to a tool, license … |  |
| Expected results and criteria | List here the results of test | And the criteria to evaluate the result |
| Test procedure |  |  |
| Step number | Operator actions | Expected result and evaluation criteria |
| 1 | Start foo | Foo is started |
| 2 | Blah | Blah |

Short template:

| Test ID | Same ID as in test plan |  |
| --- | --- | --- |
| Test description | Same as in test plan |  |
| Verified Requirement | SRS-REQ-001 |  |
| Initial conditions | The state of software before test | You may reference a procedure or it may be the result of previous test |
| Test procedure |  |  |
| Step number | Operator actions | Expected result and evaluation criteria |
| 1 | Start foo | Foo is started |
| 2 | Blah | Blah |
| 3 | Blah | Last step gives expected result of the test |

Examples of tests:

Inspection

| Test ID | T-SRS-REQ-001 |  |
| --- | --- | --- |
| Test desc. | Verify that the user manual contains the intended use |  |
| Verif. Req. | SRS-REQ-001, | Inspection |
| Init. Cond. | XXX Software is started and idle |  |
| Tests inputs | N/A |  |
| Data collection | N/A |  |
| Tests outputs | N/A |  |
| Assum & constr | N/A |  |
| Expected results and criteria | The user manual contains the intended use | Same IU as the one found in risk assessment report ref. xxx |
| Test procedure |  |  |
| Step number | Operator actions | Expected result and eval crit |
| 1 | Open user manual, doc ref xxx, section: Introduction | The IU is located in the introduction, the text is the same as the one found in risk assessment report ref. xxx |
| 2 | Open Help/User manual window | The online user manual is opened |
| 3 | Go to Section 1 | The section 1 is displayed, it contains the IU as the one found in risk assessment report ref. xxx |

Demonstration

| Test ID | T-SRS-REQ-001 |  |
| --- | --- | --- |
| Test desc. | Verify that the xxx software allows to choose one protocol in the list of recorded protocols |  |
| Verif. Req. | SRS-REQ-001, | Demonstration |
| Init. Cond. | XXX Software is started and idle |  |
| Tests inputs | N/A |  |
| Data collection | N/A |  |
| Tests outputs | N/A |  |
| Assum & constr | N/A |  |
| Expected results and criteria | Chosen protocol is selected | See last step for criteria |
| Test procedure |  |  |
| Step number | Operator actions | Expected result and eval crit |
| 1 | Open the list of protocols | The list of protocol is displayed |
| 2 | Select a protocol | The protocol summary is displayed |
| 3 | Validate the choice | The protocol is selected. The name of the protocol is displayed at the top of the screen. |

Analysis

| Test ID | T-SRS-REQ-001 |  |
| --- | --- | --- |
| Test desc. | Verify that the xxx software computes the xxx result with yyy algorithm |  |
| Verif. Req. | SRS-REQ-001, | Analysis |
| Init. Cond. | XXX Software is started and set in “Verbose” mode |  |
| Tests inputs | Script xxx to generate data | See procedure xxx on how to use script |
| Data collection | Log file xxx-verbose.log and post-processor script |  |
| Tests outputs | Output file post-processor script and graph: xxx-post-process.txt and xxx-post-process.png | See procedure xxx on how to use script |
| Assum & constr | Do not run data generator script with more than 1000 loops, or post process is too long |  |
| Expected results and criteria | xxx-post-process.txt and xxx-post-process.png | The post process graph is a gausian The post process values are: Chi2 = … Mean = … stdev= … (with x% error margin) |
| Test procedure |  |  |
| Step number | Operator actions | Expected result and eval crit |
| 1 | Set log mode in “verbose” and restart software | Software is started, log file name xxx-verbose.log is created in xxx directory |
| 2 | Run xxx data generator script | Data binary file generated |
| 3 | Open data file with software | Software processes the file and a msg is displayed when finished |
| 4 | Run xxx post process and wait end of post processing | xxx-post-process.txt and xxx-post-process.png are generated |
| 5 | Open files | The post process graph is a gausian The post process values are: Chi2 = … Mean = … stdev= … with x% error margin) |

Test

| Test ID | T-SRS-REQ-001 |  |
| --- | --- | --- |
| Test desc. | Verify that the xxx software receives data from yyy |  |
| Verif. Req. | SRS-REQ-001, | Test |
| Init. Cond. | XXX Software is started YYY simulator is started | See procedure yyy on how to use YYY simulator |
| Tests inputs | N/A |  |
| Data collection | N/A |  |
| Tests outputs | N/A |  |
| Assum & constr | YYY simulator work only in the range of zzz |  |
| Expected results and criteria | Data received and processed | See below |
| Test procedure |  |  |
| Step number | Operator actions | Expected result and eval crit |
| 1 | Send data with YYY simulator | Simulator displays msg “data sent” |
| 2 | Open xxx window of xxx software | Sent data are displayed, with date-time of reception |
| 3 | Press run button | Sent data are processed, result is displayed. Value of result is … |

Test

| Test ID | T-SRS-REQ-001 |  |
| --- | --- | --- |
| Test desc. | Verify that a user displays result in less than one minute |  |
| Verif. Req. | SRS-REQ-001, | Test |
| Init. Cond. | XXX Software is started |  |
| Tests inputs | N/A |  |
| Data collection | Stopwatch |  |
| Tests outputs | N/A |  |
| Assum & constr | Users shall have received basic training to use |  |
| Expected results and criteria | Results displayed in less than one minute |  |
| Test procedure |  |  |
| Step number | Operator actions | Expected result and eval crit |
| 1 | For 3 users, run the main use scenario 3 times. | Note duration of execution for each run of each user. |
| 2 | Compute the mean of durations | Mean is less than 1 minute. |